Jan 2007       Model FL2200 Insertion Flow Switch for Duct & Pipe Mounting

| # Model FL2200 Insertion Thermal Mass Flow Switch for Duct & Pipe Mounting |  |  |
| --- | --- | --- |
| Code Descriptions List Price |  |  |
| ## Codification Order FL2200 Insertion Thermal Mass Flow Switch for Duct & Pipe Mounting |  |  |
| 1. Probe Length See “ Calculating Probe length “ below | 12I 15I 18I 24I 30I 36I 40I SPI | 12-inch Probe 15-inch Probe 18-inch Probe 24-inch Probe 30-inch Probe 36-inch Probe 40-inch Probe Special On Request |
| 2. Probe Material | PM1 PM2 PM9 | Plastic with 316 SST Sensor Metal with 316 SST Sensor Special On Request . |
| 3. Switch Set Point | SP1 SP2 SP9 | SPDT 5 AMP Factory Set . DPDT 5 AMP User Set . special on request . . |
| 4. Display | D0 D1 D2 D9 | None Power Power , Status Special on request . |
| 5. Mounting | M1 M2 M3 M9 | 1/2 inch Compression Fitting . 1 inch ANSI 150# RF Flange ABS Mounting Flange Special On Request |
| 6. Calibration MF : Max Flow Rate | G1 G2 | Air, N2 : MF less than 20 NMPS Air, N2 : MF above than 20 NMPS |

| N O T E | Calculating Probe Length : Use the following to calculate the probe length Probe Length = 1/2D + Mounting device ( Compression Fitting , Flange ) D= pipe inner diamater |
| --- | --- |